# Checklist for Preclinical Studies

# Cell and Gene Therapy

Notes

This CGT-focused checklist consolidates early-phase assays for viral gene therapies and cell therapies.
Note: Completion of all studies is not required; please indicate which studies have been completed.

Key references: FDA Cellular & Gene Therapy Guidances (e.g., CMC for Human Gene Therapy INDs, potency assurance), ICH Q5A(R2) viral safety (2023/2024), USP general chapters (<71>, <85>, <63>) and USP resources on rapid methods, plus peer/industry sources for AAV analytics and handling. Use phase-appropriate rigor: fit-for-purpose at Pre-IND, qualification in Phase I/II, full validation by BLA where applicable; align with FDA via INTERACT/Pre-IND.

| Modality | Category | Test/Technique | Purpose | Phase Applicability | Sample Requirements | Key Output/ Acceptance Criteria | Reference/ Guideline | Notes |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Gene Therapy (AAV/AdV/mRNA/DNA) | ☐Strength/ Dose | Vector Genome Titer (ddPCR/qPCR) | Dose setting and comparability across lots; robust across in-process and purified samples | Pre-IND, Phase I | DNase pretreatment; capsid lysis (viral vectors); validated primers for GOI/ITR or common elements | vg/mL (or copies/mL) within target; method precision meeting internal criteria | FDA CGT CMC IND (2020); USP AAV PCR control; ICH Q5A(R2) risk-based testing | Use particle controls for AAV; for non-viral vectors, ensure plasmid integrity control |
| Gene Therapy (AAV/AdV) | ☐Capsid Content | Full/Empty/Partial Ratio (SV-AUC / CD-MS / AEX / SEC-MALS) | Quantify empty, partial, full capsids; set process controls and limits | Pre-IND, Phase I | High particle load (AUC); buffer exchange for CD-MS; chromatography setup | % full, % partial, % empty; trending and phase-appropriate limits | USP AAV8 empty/full app note; Waters CDMS; FDA/CBER discussions on empty capsids | Orthogonal methods recommended; consider platform limits by serotype |
| Gene Therapy (viral vectors) | ☐Potency | Cell-based Transduction + Expression/Function (Assay Matrix) | Demonstrate MoA: gene transfer and biological effect | Phase I (qualification), Phase II (tightening) | Relevant cell model; quantitative readouts (mRNA/protein/ activity) | EC50/IC50, expression fold-change, functional activity within defined ranges | FDA Potency Assurance (2023 Draft); Phase-appropriate potency development | Use assay matrix if single assay cannot capture both transfer and function |
| Gene Therapy (viral vectors) | ☐Safety/ Impurities | Replication- Competent Virus (e.g., rcAAV, RCA for AdV) | Demonstrate absence of replication-competent contaminants | Pre-IND, Phase I | Amplification on permissive cells + qPCR/readout | Not detected / below LOD | FDA CGT CMC IND; ICH Q5A(R2) | Critical for helper-dependent systems; include controls |
| Gene Therapy (viral vectors) | ☐Safety/ Adventitious Agents | Adventitious Virus Testing Strategy | Risk-based testing of banks/harvests and viral clearance (if applicable) | Pre-IND, Phase I | MCB/WCB/LIVCA testing; bulk harvest panels | Panel negative/controlled; documented clearance steps | ICH Q5A(R2); EMA/CHMP adoption; FDA CBER guidances | Plan INTERACT/Pre-IND to align testing panels and clearance rationale |
| Gene Therapy (viral vectors) | ☐Residuals | Residual Host Cell DNA & Size Distribution | Quantify residual DNA and demonstrate fragmentation control | Pre-IND, Phase I | qPCR/ddPCR; size analysis (capillary electrophoresis) | ng/dose within limits; majority <200 bp | ICH Q5A(R2); FDA/EMA updates | Include benzonase verification and acceptance criteria |
| Gene Therapy (viral vectors) | ☐Residuals | Helper Plasmid DNA / Helper Virus Markers | Demonstrate clearance of process-related genetic impurities | Pre-IND | Targeted qPCR/ddPCR (rep/cap/helper) | Below action limits; consistent removal | FDA CGT CMC IND; ICH Q5A(R2) | Trend across unit operations |
| Gene Therapy (all) | ☐Sterility & Pyrogen | Sterility (USP <71>) & Endotoxin (USP <85>) | Ensure sterility and acceptable endotoxin burden for parenteral use | Phase I release | DP lots; validated sampling | Sterile; endotoxin per dose within USP K-based limits | USP <71>; FDA endotoxin points-to-consider | Run product-specific suitability for LAL method |
| Gene Therapy (all) | ☐Mycoplasma | Mycoplasma (USP <63> or validated rapid PCR) | Detect mycoplasma contamination | Phase I release | Culture-based (28-day) or validated rapid PCR | Not detected; validated LOD | USP <63>; JCM 2023 rapid assay comparison | Rapid methods acceptable with validation and suitability |
| Gene Therapy (all) | ☐Off-target effects | Next-gen sequencing | Detect off-target effects in other tissues |  |  | Report, show any effect on downstream gene expression | FDA recommendation | FDA wants detailed report |
| Cell Therapy (autologous/ allogeneic) | ☐Identity | Cell Identity/Phenotype (Flow cytometry, immunophenotyping) | Confirm product identity and expected phenotype (e.g., CAR expression, CD markers) | Pre-IND, Phase I | Qualified antibodies/panels; reference controls | % positive cells; MFI ranges; identity pass/fail | FDA CGT guidances; industry practice | Include viability gating and isotype/ compensation controls |
| Cell Therapy (autologous/ allogeneic) | ☐Potency | Functional Potency (e.g., cytotoxicity, cytokine release, proliferation) | Demonstrate biological activity aligned to MoA (e.g., CAR-T killing) | Phase I (qualification) | Relevant target cells/assays; quantitative endpoints | EC50/response window; system suitability | FDA Potency Assurance (2023 Draft) | Assay matrix may be required for complex MoA |
| Cell Therapy (autologous/ allogeneic) | ☐Safety/ Impurities | Residuals (e.g., beads, cytokines, serum, DMSO) | Quantify process-related residuals and ensure patient safety | Pre-IND, Phase I | Appropriate ELISA/HPLC/GC methods | Below phase-appropriate limits | FDA CGT CMC; USP micro QC resources | Include leachables from disposables if applicable |
| Cell Therapy (autologous/ allogeneic) | ☐Safety/ Microbial | Sterility (USP <71>) & Endotoxin (USP <85>) & Mycoplasma | Ensure sterility and low endotoxin for short shelf-life products | Phase I release | Rapid sterility/endotoxin methods may be needed | Sterile; endotoxin within dose limits; mycoplasma ND | USP <71>, <85>, <63>; USP evolving rapid methods | Justify rapid methods and demonstrate suitability per USP <1223> if used |
| Cell Therapy (genetically modified cells) | ☐Genetic Safety | Vector Copy Number (VCN) & Integration Site Analysis | Assess genetic modification burden and insertional risk | Pre-IND, Phase I | qPCR/ddPCR for VCN; NGS for integration sites | VCN within defined range; no high-risk integrations identified | FDA CGT guidances; industry practice | Long-term follow-up plans per FDA guidance |
| CGT (all) | ☐Stability & Handling | In-use/Shipping Stability (temperature excursions, hold times) | Define handling windows for clinical sites and supply chain | Pre-IND, Phase I | Stress studies (freeze–thaw, agitation, light) and real-world shipping | Potency retention; aggregation/viability within limits | Frontiers AAV 2019; USP micro QC resources | Document chain-of-identity/chain-of-custody controls |
| CGT (all) | ☐Documentation | Reference Standard Qualification & Method Lifecycle | Establish internal reference materials and phase-appropriate method status | Pre-IND→BLA | Well-characterized lots; traceable controls | COA covering identity/purity/potency; method fit-for-purpose → qualification → validation | FDA CGT CMC; ICH Q5A(R2); FDA early-phase CMC talks | Plan comparability for process changes and platform methods |